## Slide 1: Antigravity device for therapy of scoliosis
Marek Kluszczyński PhD
1. Faculty of Health Science University in Częstochowa.
2. Ośrodek Rehabilitacji Leczniczej „ Troniny ” w Kłobucku.
Bogusława Łysakowska-Będek, PT, O
X-Rehab Rehabilitation Center Gliwice
PHU TECHNOMEX sp. z o.o.
GraviSpine

## Slide 2: Scoliosis continues to be a challenge for 21st century medicine

## Slide 3: Scoliosis continues to be a challenge for 21st century medicine
Specific prevention of idiopathic scoliosis is not possible because its final cause is yet unknown;
SOSORT scoliosis treatment model:
Early correct diagnosis, observation with rational use of spine X-rays, undertaking therapeutic measures at the initial stage of scoliosis development
Conservative treatment that is most effective in the team: doctor, physiotherapist, orthopedic technician performed by:
a) specific physiotherapy exercises
b) braces,
c) education,
Objective assessment of treatment results and possible surgical treatment
taking into account the quality-of-life aspect of a person with scoliosis

## Slide 4: Features of good conservative treatment
three-plane correction
auto posture correction
posture stabilization
daily physical activity training
patient education
Scoliosis . “Rehabilitation schools for scoliosis” thematicseries: describing the methods and results
Manuel D Rigo1*, Theodoros B Grivas2

## Slide 5: GraviSpine Treatment with the Scoliosis Gravity Corrector, patent no. PL 222124 (GKS)

## Slide 6
Application:
as a part of children and adolescents scoliosis treatment,
functional asymmetries of the the posture
adult patients with scoliosis to improve the comfort of everyday life
Scheuermann's Disease
From aprox. 3-4 years old

## Slide 7
Application:
In the treatment of spine pain syndromes at the level of Th and L-S of adults and adolescents
Inflammatory conditions of intervertebral discs and vertebrae of adults and adolescents
preparation for surgical procedures of scoliosis (and others)
Age: children and adults

## Slide 8: How GraviSpine works
Thanks to the horizontal positioning and stabilization of the pelvis (in the transverse, sagittal and frontal plane), we eliminate decompensation of the spine in the sections above and below the curvature

## Slide 9
How GraviSpine works
1. Stabilisation and antigravity position - correction of the spine by elongation and derotation

## Slide 10: How GraviSpine works
Thanks to the antigravity position (head down up to 30⁰), we gain an elongation of the spine
achieved effect contributes to the muscle relaxation, relief of intervertebral joints and intervertebral spaces (intervertebral discs)

## Slide 11: How GraviSpine works
decompression of the intervertebral joints facilitates lateral correction and derotation of the curvature of the spine - it creates convenient conditions for correcting scoliosis without the use of pressure

## Slide 12
GraviSpine
2. 3-plane mechanical correction of pathological curvature of the spine

## Slide 13: GraviSpine
3-plane mechanical correction

## Slide 14: How GraviSpine works
3. Breathing exercises with biofeedback
Patient, under the control of the physiotherapist, performs a slow inhalation „to” the concave side of the curvature, observing a decrease in the value of the pressure of the compression pad on the convex side of the curve (usually 2-3 kg)

## Slide 15: How GraviSpine works
3. Breathing exercises with biofeedback

## Slide 16: How GraviSpine works
Find and measure apex of scoliosis
Before each procedure, the asymmetry of the back is evaluated, marking the top of the curvature on the trunk with a marker for precise placement of corrective pads

## Slide 17: How GraviSpine works
2. Set up parameters on the screen,
you can accurately, manually dose the corrective force of the lateral pads, individually adjusting the pressure to the patient's feelings (usually the range is 8-20 kg)

## Slide 18: How GraviSpine works
3. Set up angle of antigravity position
inclination angle of the table allows you to obtain an anti-gravity decompression on the spine at any angle change intervals
Set up time (2-10 minutes)

## Slide 19: How GraviSpine works
5. Check and corect pressure to the initial values and patients sensations.
During the time because of tissues relaxation and elongation of the spine, you will observe a decrease in the previous values of the pads pressure

## Slide 20: How GraviSpine works
6. Breathing exercises with biofeedback
Patient, under the control of the physiotherapist, performs a slow inhalation „to” the concave side of the curvature, observing a decrease in the value of the pressure of the compression pad on the convex side of the curve (usually 2-3 kg)

## Slide 21: Contraindication
Infectious diseases with impaired functions of the body
Congenital malformations of the osteoarticular system, especially of the spine and lower limbs
Defects and diseases of the nervous system that can affect the musculoskeletal system or the course of the procedure (eg. epilepsy)
Post-traumatic conditions with bone and skeletal effects that may affect the body after the use of GraviSpine (fractures, dislocations and sprains of the spine)

## Slide 22: Contraindication
Addictions and/or mental disorders
Malformations and congenital diseases of the cardiovascular system (congenital and acquired heart defects) - after consultation with cardiologist
Vascular malformations of the brain
Cardiovascular diseases - untreated hypertension

## Slide 23: Does GraviSpine works?
Effectiveness of the method is confirmed by the documented results of 830 children with scoliosis treated in the rehabilitation center "Troniny" in 2011-2019

## Slide 24: Initial evaluation of the effectiveness of the Spine Reflex Balance - (SRB) algorithm
study material consists of 830 children and adolescents aged 6-17 years, mean age -11.54 (SD ± 3.05) treated at the center in 2011-2017
children were referred from pediatric and orthopedic clinics and family doctors
qualification for the treatment of postural defects and scoliosis was carried out according to the developed 4 group diagnostic model SRB, considering the SOSORT recommendations
mean duration of treatment and follow-up was 29.88 (SD ± 7.05) months
There was used the same diagnostic and therapeutic algorithm for all children

## Slide 25: Characteristics of patients
Zmienna | Parametr | Ogółem (N=830) | RTG (N=275) | Brak RTG (N=555) | test | p-value
Wiek [lata] | N | 830 | 275 | 555 | U Mann-Whitney | <0,001
 | Średnia (SD) | 10,65 (3,15) | 11,25 (3,08) | 10,35 (3,14) |  | 
 | Mediana (IQR) | 10 (8 - 13) | 11 (9 - 14) | 10 (8 - 13) |  | 
 | Zakres | 6 - 17 | 6 - 17 | 6 - 17 |  | 
Wiek podział [lata] | 6-9 | 40,7% (N=338) | 30,2% (N=83) | 45,9% (N=255) | chi-kwadrat | <0,001
 | 10-12 | 27,1% (N=225) | 30,9% (N=85) | 25,2% (N=140) |  | 
 | 13-17 | 32,2% (N=267) | 38,9% (N=107) | 28,8% (N=160) |  | 
Płeć | Dziewczyny | 65,3% (N=542) | 80,7% (N=222) | 57,7% (N=320) | chi-kwadrat | <0,001
 | Chłopcy | 34,7% (N=288) | 19,3% (N=53) | 42,3% (N=235) |  | 
VARIABLE | Parameter | Total (N=830) | X-ray (N=275) | NO X-ray (N=555) | TEST | p-value
AGE [years] | N | 830 | 275 | 555 | U Mann-Whitney | <0,001
 | Avarage (SD) | 10,65 (3,15) | 11,25 (3,08) | 10,35 (3,14) |  | 
 | Median (IQR) | 10 (8 - 13) | 11 (9 - 14) | 10 (8 - 13) |  | 
 | Range | 6 - 17 | 6 - 17 | 6 - 17 |  | 
AGE [years range] | 6-9 | 40,7% (N=338) | 30,2% (N=83) | 45,9% (N=255) | chi-square | <0,001
 | 10-12 | 27,1% (N=225) | 30,9% (N=85) | 25,2% (N=140) |  | 
 | 13-17 | 32,2% (N=267) | 38,9% (N=107) | 28,8% (N=160) |  | 
SEX | GIRLS | 65,3% (N=542) | 80,7% (N=222) | 57,7% (N=320) | chi-square | <0,001
 | BOYS | 34,7% (N=288) | 19,3% (N=53) | 42,3% (N=235) |  | 

## Slide 26: ATR angle change before and after the therapy (difference criterion ≥ 2 ° )
 | Parameter | Th-L Spine | L Spine | Th Spine | C-Th Spine
ATR CHANGE [°] | N | 402 | 274 | 354 | 10
 | AVERAGE (SD) | -1,18 (2,07) | -0,76 (2,54) | -0,57 (2,18) | -0,4 (1,51)
 | Median (IQR) | -1 (-2 - 0) | -1 (-2 - 0) | -1 (-2 - 0) | 0 (0 - 0)
 | RANGE | -13 - 7 | -9 - 17 | -10 - 11 | -4 - 1
ATR CHANGE [categories] | NO CHANGE | 18,9% (N=76) | 26,6% (N=73) | 24,6% (N=87) | 60% (N=6)
 | DETERIORATION | 17,2% (N=69) | 17,5% (N=48) | 24% (N=85) | 20% (N=2)
 | IMPROVEMENT | 63,9% (N=257) | 55,8% (N=153) | 51,4% (N=182) | 20% (N=2)

## Slide 27: Change in the size of the Cobb angle on X-ray before and after treatment (criterion of difference ≥ 2 ° according to Cobb)
 | Parameter | Spine Th-L | Spine L | Spine Th | Spine C-Th
Scoliosis angle – acc to Cobb group 10-67 °, average Cobb angle 22.4 ° Cobb angle change at X-ray [°] in range 2-17 ° | N | 58 | 108 | 109 | -
 | Average (SD) | -1,72 (6,4) | 0,3 (9,42) | -1,03 (9,39) | -
 | Median (IQR) | -2,5 (-5 - 2,75) | 1 (-4,75 - 5) | -2 (-6,5 - 4) | -
 | Range | 2 - 15 | 2 - 17 | 2 - 13 | -
X-ray change [categories] | NO CHANGE | 0% (N=0) | 2,6% (N=3) | 7,6% (N=8) | -
 | DETERIORATION | 28,6% (N=17) | 51,3% (N=55) | 38% (N=42) | -
 | IMPROVEMENT | 71,4% (N=41) | 46,2% (N=50) | 54,4% (N=59) | -

## Slide 28: Change in the difference in the functional length of the lower limbs before and after treatment (3 mm difference criterion)
FISHER TEST <0,001

## Slide 29: Case study: Milena, 10 years
birth date 03.2011 r.
start of treatment: 2019 (age: 8 years)
Cobb angle:
at 2019:
Th dex 25ᵒ, L sin 23ᵒ.
at 2020:
Th dex 22ᵒ, L sin 13ᵒ.
2021:
Th dex 15ᵒ. L sin 12ᵒ
2019
2020
2021

## Slide 30: Diagnostic and therapeutic method Spinal Reflex Balance method SRB method
SRB - is a proposal of comprehensive orthopedic care for a child with risk of developing idiopathic scoliosis.
SRB method - includes a diagnostic and therapeutic proposal
SRB method
Diagnostic
Therapy

## Slide 31: Advantages of GraviSpine:
effective therapy
device accelerates the treatment of already developed scoliosis, and also inhibits the progression at the stage of scoliosis formation
alternative to other devices
ability to treat more patients
„breath” for therapist
easy transport (four wheels with brake)

## Slide 32: PHU TECHNOMEX SP ZOO UL. SZPARAGOWA 15 44-141 GLIWICE POLAND WWW.TECHNOMEX.EU export@technomex.pl
THANK YOU FOR ATTENTION